Scope Review Checklist

| Project Name: |  |
| --- | --- |

| SECTION ONE: SPECIFICATION REVIEW (INSTALLATION) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - General Electrical Provisions |  |  |  |  |  |  |  |  |  |  |  |
| - O&M Manuals | Hard Copy |  |  | Digital | Both |  |  |  |  |  |  |
| - As-Built Drawings | Hard Copy |  |  | Digital | Both |  |  |  |  |  |  |
| - BIM | Yes |  |  | No |  |  |  |  |  |  |  |
| - MEP Coordination Drawings Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Background Check Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Finger Printing Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Orientation/Training Required | Yes |  |  | No | Duration: |  |  |  |  |  |  |
| - Safety Foreman Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - TWIC Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Site Office/Storage Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Testing/Study Requirements |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Coordination Study | Yes |  |  | No |  |  |  |  |  |  |  |
| - ARC Flash/Fault Study | Yes |  |  | No |  |  |  |  |  |  |  |
| - Third Party Testing | Yes |  |  | No |  |  |  |  |  |  |  |
| - Other |  |  |  |  |  |  |  |  |  |  |  |
| - Insulated Conductors - 600V |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Minimum Size |  |  |  |  |  |  |  |  |  |  |  |
| - Conductor Type | Copper |  |  | Aluminum |  |  |  |  |  |  |  |
| - Solid Through Size |  |  |  |  |  |  |  |  |  |  |  |
| - Stranded Only |  |  |  |  |  |  |  |  |  |  |  |
| - Tray Cable | THHN |  |  | XHHW |  |  |  |  |  |  |  |
| - Insulation Type |  |  |  |  |  |  |  |  |  |  |  |
| - Indoors | THHN/THWN XHHW |  |  | RHH |  | Other |  |  |  |  |  |
| - Outdoors/Underground | THHN/THWN XHHW |  |  | RHH RHW |  | Other |  |  |  |  |  |
| Additional Information/Notes |  |  |  |  |  |  |  |  |  |  |  |
| - Termination Type | Mechanical |  |  | Compression |  |  |  |  |  |  |  |
| - Tinned Copper Required | Yes |  |  | No |  |  |  |  |  |  |  |
| - Max. Circuits Allowed Per Raceway |  |  |  |  |  |  |  |  |  |  |  |
| - Neutral Required per Circuit | Yes |  |  | No |  |  |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Insulated Conductors - Medium Voltage |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Approved Manufacturers |  |  |  |  |  |  |  |  |  |  |  |
| - Conductor Type | Copper |  |  | Aluminum |  |  |  |  |  |  |  |
| - Insulation Type | XLP EPR |  |  | Interlocked Armor EPR |  |  |  |  |  |  |  |
| - Termination Approved Manufacturers |  |  |  |  |  |  |  |  |  |  |  |
| - Termination Type | Heat Shrink |  |  | Cold Shrink |  |  |  |  |  |  |  |
| - Tinned Copper Required | Yes |  |  | No |  |  |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Insulated Conductors - Power Limited (Control Wiring) |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Approved Manufacturers |  |  |  |  |  |  |  |  |  |  |  |
| - Insulation Type | PVC Jacket | Plenum Rated |  |  |  |  |  |  | Both |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Grounding |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Raceways |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Underground |  |  |  |  |  |  |  |  |  |  |  |
| - Minimum Size | ¾” |  |  | 1” |  | 1 ¼” |  |  |  |  |  |
| - Conduit Type | EB DB |  |  | SCH40 SCH80 |  | GRC OCAL |  |  |  |  |  |
| - Encasement | Backfill |  |  | Sand |  | Concrete |  |  |  |  |  |
| - Reinforced | Yes |  |  | No |  |  |  |  |  |  |  |
| - Stub Up/Elbow Type | SCH40 SCH80 EMT |  | GRC WRAPPED GRC |  |  |  |  |  |  | OCAL OTHER |  |
| - Elbow Radius |  |  |  |  |  |  |  |  |  |  |  |
| - Riser Type | SCH40 SCH80 EMT |  | GRC WRAPPED GRC |  |  |  |  |  |  | OCAL OTHER |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Above Grade |  |  |  |  |  |  |  |  |  |  |  |
| - Minimum Size | ½” | ¾” |  |  |  | 1” |  |  |  |  |  |
| - Fitting Type | Die Cast Steel | Set Screw |  |  |  | Compression |  |  |  |  |  |
| - Insulated Fittings | Yes | No |  |  |  |  |  |  |  |  |  |
| - Exposed Indoors |  |  |  |  |  |  |  |  |  |  |  |
| - Below 10’ | EMT IMC | GRC |  |  |  | ARC |  |  |  |  |  |
| - Above 10’ | EMT IMC | GRC |  |  |  | ARC |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Concealed Indoors | EMT IMC | GRC ARC |  |  |  | MC HCFC |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Outdoors | EMT IMC | GRC ERC |  |  |  | PGRC Other |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Metal Clad | BX MC |  | HFC AC |  |  |  |  | Jacketed AC |  |  |  |
| - Jacket | Steel |  | Aluminum |  |  |  |  |  |  |  |  |
| - Cable Tray |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |
| - Material Type | Aluminum | Steel |  |  |  | Special Galvanized |  |  |  |  |  |
| - Type | Ladder Ventilated | Solid Bottom Wire Basket |  |  |  |  |  |  |  |  |  |
| - Cable Tray Ground Required | Yes | No |  |  |  |  |  |  |  |  |  |
| - Special Cable Tray Conduit Clamps Required | Yes | No |  |  |  |  |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |
| - Support Hardware |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |
| - Finish Types | Standard (Zinc/EG) | Galvanized |  |  |  | Stainless 304 Stainless 316 |  |  |  |  |
| - Power Actuated (HILTI) Permitted | Yes | No |  |  |  |  |  |  |  |  |
| - Threaded Rod Minimum Size | 1/4” 3/8” | 1/2” 5/8” |  |  |  |  | 3/4” 1” |  |  |  |
| - Slick Rod Allowed | Yes | No |  |  |  |  |  |  |  |  |
| - Ceiling Wires (Fixture Supports) | Two Points | Four Points |  |  |  |  |  |  |  |  |
| - Industry Standards Stated | Yes | No |  |  |  |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |

| - Vibration Isolation and Seismic Restraints |  |  |
| --- | --- | --- |
| - Spec Section |  |  |
| - Seismic Engineering | Yes | No |
| - Approved Manufacturers |  |  |
| Additional Information/Notes: |  |  |

| - Fireproofing |  |  |
| --- | --- | --- |
| - Spec Section |  |  |
| - Caulking of Conduits | By Electrical | By Others |
| - Fire Pads Required | Yes | No |
| - Sound Pads Required | Yes | No |
| - EZ-Paths/Sleeves | Yes | No |
| Additional Information/Notes: |  |  |

| - Electrical Boxes |  |  |
| --- | --- | --- |
| - Spec Section |  |  |
| - Pull Boxes | Screw Cover | Hinge Cover |
| - Device Boxes | 4 sq | 4 11/16” |
| - Minimum Depth | 1 1/2” | 2 1/8” |
| - Special 5” Boxes (RANDL) | Yes | No |
| - Indoor Rating | NEMA 1 | NEMA 12 |
| - Outdoor Rating | NEMA 3R | NEMA 4X |
| Additional Information/Notes: |  |  |

| - Lighting Control System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers | Lutron Leviton Lithonia Marlin |  |  |  |  |  |  |  | Strand ETC Other |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - System Startup | Electrical |  | Lighting Rep. |  |  |  |  |  |  |  |  |  |  | 3rd Party |
| - Testing | Electrical |  | Lighting Rep. |  |  |  |  |  |  |  |  |  |  | 3rd Party |
| - Training | Electrical |  | Lighting Rep. |  |  |  |  |  |  |  |  |  |  | 3rd Party |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Dry Type Transformers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Type | Standard Rise K Rated |  |  |  |  |  |  |  | Harmonic Mitigating |  |  |  |  |  |
| - Approved Manufacturers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Core | Copper |  |  |  |  |  |  |  | Aluminum |  |  |  |  |  |
| - Fungus Proofing | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Mounting | Spring Isolators |  |  |  |  |  |  |  | Neoprene Pads |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Transformers (Medium Voltage) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Load Tap Changer Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Primary Fusing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Removable Radiator | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Switchgear Low Voltage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By |  | Electrical |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers |  | SQD Eaton GE |  |  |  |  |  |  | Siemens Other |  |  |  |  |  |
| - Bussing |  | Copper Aluminum |  |  |  |  |  |  | Silver Plated |  |  |  |  |  |
| - Variable Speed Drives |  | Furnished by Electrical |  |  |  |  |  |  | Furnished by Others |  |  |  |  |  |
| - Loose Motor Starters |  | Furnished by Electrical |  |  |  |  |  |  | Furnished by Others |  |  |  |  |  |
| - NEMA Configuration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Indoor |  | NEMA 1 |  |  | NEMA 12 |  |  |  |  |  | Other |  |  |  |
| - Outdoor |  | NEMA 3R NEMA 4/4X FRP |  |  |  |  |  |  | NEMA 4/4X Stainless Other |  |  |  |  |  |
| - Spare Parts Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Fungus Proofing |  | Yes |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Switchgear (Medium Voltage) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Factory Witness Testing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Panelboards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers | SQD Eaton GE |  |  |  |  |  |  |  | Siemens Other |  |  |  |  |  |
| - Ratings | Series Rated |  |  |  |  |  |  |  | Fully Rated |  |  |  |  |  |
| - Bussing | Copper Aluminum |  |  |  |  |  |  |  | Silver Plated |  |  |  |  |  |
| - Construction | Standard |  |  |  |  |  |  |  | Door-In-Door |  |  |  |  |  |
| - NEMA Configuration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Indoor | NEMA 1 |  |  |  | NEMA 12 |  |  |  |  |  | Other |  |  |  |
| - Outdoor | NEMA 3R NEMA 4/4X FRP |  |  |  |  |  |  |  | NEMA 4/4X Stainless Other |  |  |  |  |  |
| - Spare Parts Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Fungus Proofing | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Variable Speed Drive |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Voltage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Factory Witness Testing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Starters/Reduced Voltage SFT Starter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Voltage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Factory Witness Testing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Motor Control Center |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Voltage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Factory Witness Testing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Uninterruptible Power Supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers | Liebert Powerware MGE S&C APC |  |  |  |  |  |  |  | Toshiba Eaton GE Other |  |  |  |  |  |
| - Battery Monitoring Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Metering Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Factory Witness Testing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Spare Parts Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Power Distribution Units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers | APC Liebert MGE |  |  |  |  |  |  |  | Eaton Powerware Other |  |  |  |  |  |
| - Metering Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Remote Distribution Cabinet Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Spare Parts Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Wiring Devices/Plates |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Approved Manufacturers | Leviton Cooper Hubbell |  |  |  |  | Pass & Seymour Other |  |  |  |  |  |  |  |  |
| - Grade | Standard |  |  | Hospital |  |  |  |  |  |  |  | Tamperproof |  |  |
| - Wall Plates | Plastic |  |  | Nylon |  |  |  |  |  |  |  | Stainless |  |  |
| - Labeling | Engraved |  |  | Tape |  |  |  |  |  |  |  | Phenolic |  |  |
| - Surface Raceways | Plastic |  |  | Steel |  |  |  |  |  |  |  | Aluminum |  |  |
| - Floorboxes | Poke-Thru |  |  | Steel |  |  |  |  |  |  |  | Cast Iron |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Disconnects |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  | Others |  |  |  |  |  |  |
| - Disconnect Rating | General Duty |  |  |  |  |  |  | Heavy Duty |  |  |  |  |  |  |
| - Type | Fused |  |  |  |  |  |  | Non-Fused |  |  |  |  |  |  |
| - Fuse Type |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spare Fuses | Yes |  |  |  |  |  | No |  |  |  |  |  |  |  |
| - Spare Fuse Cabinet | Yes |  |  |  |  |  | No |  |  |  |  |  |  |  |
| - NEMA Configuration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Indoor | NEMA 1 |  |  |  | NEMA 12 |  |  |  |  |  | Other |  |  |  |
| - Outdoor | NEMA 3R NEMA 4/4X FRP |  |  |  |  |  |  |  | NEMA 4/4X Stainless Other |  |  |  |  |  |
| - Voltages | 240V |  |  |  |  |  |  |  | 600V |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Emergency Generator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Approved Manufacturers | Caterpillar Cummins Kohler |  |  |  |  |  |  |  | Generac Detroit Diesel Other |  |  |  |  |  |
| - Fuel Source | Diesel |  |  |  |  |  |  |  | Natural Gas |  |  |  |  |  |
| - Load Bank Test Required | Yes |  |  |  | No |  |  |  |  |  |  |  | Duration: |  |
| - Startup | Electrical |  |  |  | Mnfcturer |  |  |  |  |  |  |  | Other |  |
| - Special Enclosure | Sound Rated |  |  |  | Wind Rated |  |  |  |  |  |  |  | Ballistic Rated |  |
| - NEMA Rating | NEMA 1 |  |  |  |  |  |  |  | NEMA 3R |  |  |  |  |  |
| - Installation of Exhaust/Muffler | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - External Day Tank Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - External Primary Fuel Tank (Con-Vault) Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Spare Parts Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Maintenance Contract Pricing Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Fuel | By Electrical |  |  |  | By Owner |  |  |  |  |  | By GC |  |  |  |
| - Fuel Quantity to be Provided for Testing | gallons |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Fuel Quantity to be Provided for Tank | gallons |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Crane Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Lightning Protection/Grounding |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Lightning Protection System Quote Req’d | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Grounding Counterpoise Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Raised Floor Grounding Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Cathodic Protection Quote Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Transient Voltage Surge Suppression |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Approved Manufacturers | Eaton/Cutler-Hammer Clipper Power System Square D Electric Surge Logic |  |  |  |  |  |  |  |  | GE Siemens Leviton Other |  |  |  |  |
| - Location | In Equipment |  |  |  |  |  |  |  |  | Stand Alone |  |  |  |  |
| - Enclosure | Indoor |  |  |  |  |  |  |  |  | Outdoor |  |  |  |  |
| - Factory Testing | Yes |  |  |  |  |  |  |  |  | No |  |  |  |  |
| - Extended Warranty Required | Yes |  |  |  |  |  |  |  |  | No |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Light Fixtures and Lamps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Spec Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Furnished By | Electrical |  |  |  |  |  |  |  | Others |  |  |  |  |  |
| - Sports Lighting Package Included | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Spare Parts (Lamps, Ballasts, etc.) Req’d | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Aiming Lamp/Labor Allowance Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Clean Fixture/Labor Allowance Required | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| - Fire Rated Enclosure | Yes |  |  |  |  |  |  |  | No |  |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SECTION TWO: SPECIFICATION REVIEW (SYSTEMS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Telecom System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Telecom Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up Ring and String |  | Complete System Open Cabling |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Audio/Video System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - A/V Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up Ring and String |  | Complete System Open Cabling |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Public Address/Intercom System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - P/A Intercom Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Distributed Antenna System (DAS) |  |  |  |  |
| - Spec Section |  |  |  |  |
| - DAS Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up Ring and String |  | Complete System Open Cabling |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - CATV System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - CATV Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up Ring and String |  | Complete System Open Cabling |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Sound System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Sound System Quote Required for Electrical Proposal | Yes |  | No |  |
| - Gymnasium Sound System Quote Required | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Clock System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Clock System Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Nurse Call System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Nurse Call Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Security/Intrusion System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Security Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Card Access System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Card Access Quote Required for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - CCTV Surveillance System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - CCTV Quote Req’d for Electrical Proposal | Yes |  | No |  |
| - Raceway System | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Cable Type | Plenum |  | Non-Plenum |  |
| - Specialty Cable | Supplied by Sub |  | Supplied by EC |  |
| - Pulling of Specialty Cable | Subcontractor |  | Elect. Contractor |  |
| - Testing | Yes |  | No |  |
| - Training | Yes |  | No |  |
| - Spare Materials | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Fire Alarm System |  |  |  |  |
| - Spec Section |  |  |  |  |
| - Fire Alarm Quote Required for Electrical Proposal | Yes |  | No |  |
| - Area of Rescue Required with Proposal | Yes |  | No |  |
| - Approved Manufacturers | Notifier EST Simplex |  | Siemens Other |  |
| - Raceways Systems | Stub Up |  | Complete System |  |
| - Minimum Conduit Size | 1/2” 3/4” |  | 1” 1 1/4” |  |
| - Extended Warranty Required | Yes |  | No |  |
| - Extended Service Agreement Required | Yes |  | No |  |
| Additional Information/Notes: |  |  |  |  |
| - Other Systems |  |  |  |  |
| - Heat Trace | Yes | No |  | Division: |
| - Assisted Listening | Yes | No |  | Division: |
| - Leak Detection | Yes | No |  | Division: |
| - Gas Detection | Yes | No |  | Division: |
| - Hydrocarbon Detection/Sensing | Yes | No |  | Division: |
| - CO/CO2 Monitoring | Yes | No |  | Division: |
| - Is There Electrical on Other Drawings | Yes | No |  |  |
| - VE Possibilities | Yes | No |  |  |
| - Other: |  |  |  |  |
| - Other: |  |  |  |  |
| Additional Information/Notes: |  |  |  |  |

| SECTION FOUR: MISCELLANEOUS |  |  |
| --- | --- | --- |
| - Furnished by Others |  |  |
| - We Review Submittals | Yes | No |
| - We Receive | Yes | No |
| - We Store | Yes | No |
| - Storage Needed | Yes | No |
| - Storage Bonded | Yes | No |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |
| Additional Information/Notes: |  |  |